## Measurements and Calculations
Instructions
This spreadsheet is intended to assist you with Parts II - IV of the Spectra lab. You will need to include the graph and tables in your report. Important note: the tables should be incorporated into your report. Only import the tables and graph. Don’t just attach or copy the entire workbook to the report. You will still need to include sample calculations.
Important note: Don't forget your units! Even the slope and intercept of the trendline have units. (If you're unsure of the slope units, ask yourself: how do you calculate slope? What are the units of my axes?)
Fill in your pixel measurements on this sheet, and make your plot from the "Chart Plotting" sheet.
Part II & III: Helium Lines
Step 1: Measure the pixel positions of the helium lines in your image. Refer to the handout to assist with line identification
Line Number | Line Position (pix) | Wavelength (Å) | Description
- |  | - | Zero-Order Image
8 | 718 | 3889 | Deep violet
7 | 828 | 4471 | Bright blue-violet
6 | 870 | 4713 | Faint blue-violet
5 | 907 | 4922 | Bright blue-green (left)
4 | 927 | 5016 | Bright blue-green (Right)
3 | 1091 | 5875 | Yellow
2 | 1243 | 6678 | Pale Red
1 | 1323 | 7065 | Dark Red
Step 2: Calibration Plot
At the bottom of the window you should see two tabs, "Measurement and Calculations" and "Chart Plotting".
We are currently on "Measurements and Calculations." Click on "Chart Plotting" to navigate to the plotting
spreadsheet.
Part II & IV: Hydrogen Lines
Step 1: Enter the parameters of your Helium trendline from the graph in the "Chart Plotting" Tab (y=m*x + b):
Slope (m): | 5.257
y-intercept (b): | 132.78 |  |  | Calculating Uncertainty in the Hydrogen Lines
Uncertainty is half the width of the hydrogen line in the image. You don't need to include this table in your report; it's just here to assist with calculations. You still need to show a sample calculation of the uncertainty, however.
Step 2: Measure the pixel positions of the hydrogen lines in your image and record them in the table:
Balmer Line | Line Position (pix) | Wavelength (Å) | Description | Balmer Line | Near Line Edge (pix) | Far Line Edge (pix) | Line Width (pix) | Half Width (pix) | Δλ (Å) | Balmer Line | Near Line Edge (pix) | Far Line Edge (pix) | Line Width (pix) | Half Width (pix) | Δλ (Å)
Hα | 806 | 4369.922 | Bright Red | Calculation | - | - | W = Far - Near | HW = W/2 | m * HW | Calculation | - | - | W = Far - Near | HW = W/2 | m * HW
Hβ | 904 | 4885.108 | Blue | Hγ | 1105 | 1111 | 6 | 3 | 15.771 | Hγ | 1105 | 1111 | 6 | 3 | 0
Hγ | 1228 | 6588.376 | Faint Blue | Hβ | 1200 | 1211 | 11 | 5.5 | 28.9135 | Hβ | 1200 | 1211 | 11 | 5.5 | 0
|  |  |  | Hα | 1526 | 1537 | 11 | 5.5 | 28.9135 | Hα | 1526 | 1537 | 11 | 5.5 | 0
The cells in the wavelength column contain the Excel formula of the equation of your trendline:
=B$28*B33 +B$29 |  |  |  | Try entering the formulas for these calculations yourself.
The "$" indicate that these cells are "fixed" and not to adjust their row references when filling adjacent cells. "B33" is the reference to the "Pixel Position" cell for Hα. Each row in the wavelength column references its own associated pixel position value. |  |  |  | Start with an equals sign (=) to enter formula mode. If you want to reference the value in a cell, click on the cell while writing the formula (eg. "= <click cell> - <click other cell>"). If you want to reference the cell where you recorded your slope, type "B$28" without quotation marks. When you're done editing your equation hit "enter"
Once you have one formula, you can click on the cell and drag on the little green square at the bottom right to "Fill" the cells below with the formula.
You only need the slope to convert between half-width in pixels and Angstroms because you subtracted the two points.
(y2 - y1) = m * (x2 - x1) + b - b

## Chart Plotting
CHART DATA, DO NOT EDIT
Line Position (pix) | Wavelength He | Wavelength H | Plot the calibration graph of Helium wavelength (y-axis) vs pixel position (x-axis) & Add a Best Fit line
1) Highlight the table on the right from A5 to C15 (All the orange cells)
2) "Insert" > "Scatter with only markers." This will create a scatter plot with two data series. Series 1 will be Helium, Series 2 will be hydrogen. Ignore Series 2 for the moment.
718 | 3889
828 | 4471 |  | 3) Double click on the chart. This will open a pane that will allow you to tweak things
870 | 4713 |  | BROWSER VERSION
907 | 4922 |  | 4) In the chart pane (right side of window), click "Format", then select "Series 1"
927 | 5016 |  | 5) Edit the "Series Name" to give a proper description (eg. "Helium Lines")
1091 | 5875 |  | 6) Near the bottom of the "Series 1" block there are some toggles. Turn on "Trendline 1" to add a best fit line, then turn on the toggle that says "Equations and Values" to display the equation of the line
1243 | 6678
1323 | 7065 |  | DESKTOP VERSION
806 |  | 4369.922 | 4) Right-click on the "series 1" data points on your graph and choose "select data"
904 |  | 4885.108 | 5) Select the series in the "Legend Entries" window, and change its name to give it a proper description (eg "Helium Lines"). You may need to click "Edit" first. While you're here you can relabel Series 2 as well
1228 |  | 6588.376
Key: |  |  | 6) Right-click on series 1 again and choose "Add Trendline" (or select the "Chart Design" menu and "Add Chart Element"), and check "Display equation on chart" in the Format pane on the right side of the screen
= highlight for plot
Once you have the equation of your trendline:
Record the slope and y-intercept of the line in the designated spots of the "Measurements and Calculations" Sheet. Once the Hydrogen position table is complete, the chart should update.
Format Series 2 to change the "Series Name" to something properly descriptive if you haven't already
Once all your data is plotted:
Edit the chart title, add axis labels, and adjust your axis limits ("bounds") to zoom in on the data. The default limits will not be reasonable. This can be done through the chart pane (which you get from double-clicking on the chart)
On Desktop, if you can't see options to adjust bounds and such, you may need to click the symbol that looks like a bar chart in the format pane.